# Flow sensor of water purification device

Table 1:Flow sensor with compatible microcontrollers  and its link for water purification devices local and international market

| Sensor type | Compatible microcontroller | Links |
| --- | --- | --- |
| YF-S201 Arduino Water Flow Sensor Water Measurement Sensor | ESP32-S3 and Arduino Uno | https://electrobes.com/product/water-liquid-flow-sensor-flowmeter |
| Micro Size Hall Sensor Flow Meter Hall Effect Flow Sensor Arduino | Arduino,ESP32-S3 | https://www.alibaba.com/product-detail/Micro-Size-Hall-Sensor-Flow-Meter_1600325244990.html?spm=a2700.7724857.0.0.1ccb537cUA0ppn |
| Holybro PMW3901 Optical Flow Sensor Built in BEC Compatible PX4 & Ardupilot Flow Sensor | ESP32-S3 and Arduino Uno | https://www.alibaba.com/product-detail/Holybro-PMW3901-Optical-Flow-Sensor-Built_1601492348162.html?spm=a2700.7724857.0.0.1ccb537cUA0ppn |
| High Accuracy Electromagnetic Flowmeter Customizable Smart Electromagnetic Flow Meter for River Water OEM Supported | ESP32-S3 and Arduino Uno | https://www.alibaba.com/product-detail/Smart-Water-Meters-River-Water-Electromagnetic_1601291183640.html?spm=a2700.7724857.0.0.1ccb537cUA0ppn |
| High-Precision Flow Meter with Water Flow Sensor for Science/Arduino Projects | ESP32-S3 and Arduino Uno | https://www.alibaba.com/product-detail/High-Precision-Flow-Meter-with-Water_1600690137781.html?spm=a2700.7724857.0.0.1ccb537cUA0ppn |
| G1/2" Half Effect Water Flow Sensor - YF-S201 | ESP32-S3 and Arduino Uno | https://www.cytron.io/p-g1-2-half-effect-water-flow-sensor-yf-s201 |
| Flow Sensor – FS300A – 3/4″ | ESP32-S3 and Arduino Uno | https://bc-robotics.com/shop/flow-sensor-fs300a-3-4 |
| Water Flow Meter Hall Effect Sensor G1 1" 1-60L/min - FS400A | ESP32-S3 and Arduino Uno | https://instock.pk/water-proof-water-flow-meter-hall-effect-sensor-g1-fs400a-1-inch-1-60l-min.html |
| YF-S201C G 1/2″ Water Flow Sensor Fluid Flowmeter Switch Counter 1-30L/min Meter | ESP32-S3 and Arduino Uno | https://electrobes.com/product/yf-s201c-g-1-2-water-flow-sensor-fluid-flowmeter-switch-counter-1-30l-min-meter/#:~:text=Store%20Location%20Shop%20102%2C%201st,2%2C%20H-13%2C%20Islamabad |
| Water Flow Sensor | ESP32-S3 and Arduino Uno | https://collegeroadonline.com/product/flow-sensor |
| YFS201 Water Flow Sensor Module with Hall Effect for UNO ESP32 Raspberry Pi 1-30 L/min Flow Rate 1/2 inch Pipe Compatible for DIY Projects and Industrial Water Measurement | ESP32-S3 and Arduino Uno | https://www.amazon.in/Raspberry-Compatible-Projects-Industrial-Measurement/dp/B0FBLG8GZ6 |
| Generic YF‑S201 Hall‑effect Water Flow Sensor (½″, 5 V, pulse output) | ESP32-S3 and Arduino Uno | https://digilog.pk/products/arduino-water-flow-sensor-water-measurement-sensor-yf-s201-in-pakistan?srsltid=AfmBOoqAbswcXM86-CLMj0XOtlvHXetruLdGVEGCdz6BhLihPLwNqcx2 |
| GOYOJO Digital Electromagnetic Flow Meter 4‑inch (DN100) with 4‑20 mA output | ESP32-S3 and Arduino Uno | https://www.ubuy.com.pk/en/product/J4BZ7W9HM-water-flow-meter-digital-electromagnetic-water-flow-meter-4-inch-high-precision-with-4-20ma-output-for-drainage-dn100-ptfe?srsltid=AfmBOoptNaor4pu12J-2WL24ka0HaM1Cg_6OWE-0oL14NBovtE_VDx8v |
| Ultrasonic Flow Meter Sensor | ESP32-S3 and Arduino Uno | https://www.dayshop.pk/product/ultrasonic-flow-meter-sensor |
| OPTISONIC 8300 | ESP32-S3 and Arduino Uno | https://www.krohne.com/en-pk/products/flow-measurement/flowmeters/electromagnetic-flowmeters |