# Integrated water monitoring system for continuous tracking of consumption

Table 1: Integrated water monitoring system for continuous tracking of consumption, pH and contaminant levels with automated alerts and corrective actions

| Key Area | Why it is important | Facts |
| --- | --- | --- |
| Water-quality parameters + consumption measurement | Identify major parameters: pH, turbidity, TDS (Total Dissolved Solids), conductivity, heavy metals, biological contaminants. Discuss physical, chemical, biological categories of parameters. Introduce consumption monitoring: flow measurement (liters used), pressure/time data, linking consumption to quality. Highlight that consumption-quality linkage is less explored. | “A Comprehensive Overview of Vital Water Quality Parameters” documents physical/chemical/biological breakdown. “Analysis of Water Quality Parameters Across Diverse Sources” shows variation in key indicators (pH, TDS, turbidity) across many water types. |
| Real-time / continuous monitoring + IOT / automation | Explain shift from intermittent manual sampling to continuous, online monitoring systems. Describe IOT sensor nodes, cloud platforms, dashboards, remote access, alerts. Emphasize automation: real-time data leads to timely decisions/alerting. | “IOT-Based Water Monitoring Systems: A Systematic Review” shows many studies using pH, turbidity, flow sensors with IOT platforms. “IOT in Water Quality Monitoring—Are We Really Here?” discusses potentials and gaps of IoT in this domain. |
| Purification device & corrective action integration | Describe integration of monitoring with automatic corrective devices (valves, filters, UV, dosing pumps). Present the control loop: monitor → alert → corrective action (not just monitoring). Note that literature especially in monitoring devices often stops at “monitor/alert”, less at “auto-correct”. | While specific papers on full monitoring + action loops are less frequent, you can build on the monitoring literature (e.g., real-time IOT systems) and incorporate automation/control systems literature (industrial control theory) to justify your system architecture. |
| System calibration, sensor drift, maintenance | Discuss challenges in continuous immersion sensors: drift, fouling, calibration frequency, loss of accuracy. Highlight maintenance requirements: cleaning, recalibration, sensor replacement, data validity. | “Towards online surface water quality monitoring technology: A review” addresses sensor calibration and validation issues. “Detection of contaminants in water supply: A review” also emphasizes limitations of monitoring instrumentation |
| Data analytics, thresholds & alerts | Define thresholds: e.g., what pH range is safe (WHO: ~6.5-8.5 for drinking water). Discuss data logging, trend detection, anomaly detection (e.g., sudden turbidity spike). Explore analytics methods: fuzzy logic, machine learning, predictive modelling, water quality indices. | “A Comprehensive Review of Water Quality Indices (WQIs)” shows how multiple parameters are aggregated into a single index for assessment. “Advances in machine learning and IOT for water quality monitoring” presents ML + IOT applications for early warning/prediction. |

Research paper and its links

- A Comprehensive Overview of Vital Water Quality Parameters

Link: https://www.researchgate.net/publication/374750738_A_Comprehensive_Overview_of_Vital_Water_Quality_Parameters

- IOT‑Based Water Monitoring Systems: A Systematic Review

Link: https://www.researchgate.net/publication/365286333_IoT-Based_Water_Monitoring_Systems_A_Systematic_Review

- IOT in Water Quality Monitoring—Are We Really Here?

Link: https://www.mdpi.com/1424-8220/23/2/960

- IOT based real-time water quality monitoring system in water treatment plants (WTPs)

Link: https://www.sciencedirect.com/science/article/pii/S2405844024167771

- A wireless sensor network IOT platform for consumption and the quality of drinking water

Link: https://link.springer.com/article/10.1007/s42452-024-06384-1

- Advances in machine learning and IoT for water quality monitoring

Link: https://pmc.ncbi.nlm.nih.gov/articles/PMC10963334

- Automated Water Monitoring and Regulation System using Internet of Things

Link: https://www.researchgate.net/publication/378083552_Automated_Water_Monitoring_and_Regulation_System_using_Internet_of_Things