# Lead sensor core monitoring and capabilities of water purification devices

Table 1: Core monitoring and capabilities of Lead sensors of water purification devices

| Function | Why it is important | Considerations |
| --- | --- | --- |
| Lead / Heavy Metal Sensing | Detect presence & concentration of Pb (lead) to ensure water safety. | Use an electrochemical sensor (e.g. modified electrode, voltametric method). Interface analog or digital output to ESP32-S3. Calibration needed vs known standards. |
| Other Water-Quality Parameters | Lead is only one contaminant. Monitoring pH, TDS / EC (electrical conductivity), turbidity, temperature helps contextualize contamination & validate filtration effectiveness. | Sensors for pH, conductivity / TDS, turbidity, temperature. Many existing ESP32-based systems measure these. |
| Real-time Data Acquisition & Logging | Continuous monitoring helps detect contamination events and trends over time. | ESP32-S3 reads sensors periodically, timestamps data; logs locally (e.g. SD card, flash) + sends to cloud / server. |
| Connectivity & Alerts | To notify users when thresholds are exceeded (e.g. lead > safe limit). | Use WiFi or BLE (ESP32-S3 supports), send alerts via MQTT / HTTP API / mobile app. You might integrate SMS/email or in-app alerts. |
| Filtering System Control | Automatic or manual control of filtration/valve/pump when contamination is detected. | Use relays or motor drivers connected to ESP32-S3 to activate purification steps (e.g. run extra filter cycles, switch filter module, pump flushing). |
| Calibration & Validation | To ensure sensor readings for lead are accurate and reliable (especially for low-concentration heavy metal). | Use standard solutions of lead (e.g. known ppm / ppb), compare with lab-grade measurements. Perform calibration curves. |
| User Interface | Allow viewing current status, history; perhaps mobile app or embedded display. | Could use OLED / LCD screen on device; web dashboard or mobile app / Blynk / custom UI. |
| Power & Fault Tolerance | Ensure device continues or fails safely (e.g. power outages, sensor faults). | Battery or UPS backup; error detection in sensor readings; fail-safe signals if sensors fail. |
| Filtration Performance Monitoring | After filtration, measure remaining lead to check if the filter is working; monitor filter lifetime. | Place output-side sensor downstream of filter; compare inlet vs outlet levels; track cumulative volume processed; schedule maintenance or replacement automatically. |

Research paper and its links

- Developing a Portable Spectrometer to Detect Chemical Contaminants in Irrigation Water.

Link: https://www.mdpi.com/2077-0472/13/6/1202

- PlomBOX – development of a low-cost CMOS device for environmental monitoring

Link: https://arxiv.org/pdf/2201.03348

- An Electrochemical Sensor for Detection of Lead (II) Ions Using Biochar of Spent Coffee Grounds Modified by TiO2 Nanoparticles

Link: https://www.mdpi.com/1420-3049/29/23/5704

- IOT Based Water Quality Monitoring System using ESP32

Link: https://www.ijraset.com/research-paper/iot-based-water-quality-monitoring-system-using-esp32

- An IoT-enabled intelligent water quality monitoring system or tourist safety using machine learning

Link: https://link.springer.com/article/10.1007/s44291-025-00070-1

- Detection of Lead with IoT Water Monitoring System Using Microstrip Antenna-Based Sensor: This paper specifically explores a sensor for lead detection that is suitable for IoT integration using platforms like ThingSpeak.

Link: https://www.researchgate.net/publication/369422659_Detection_of_Lead_with_IoT_Water_Monitoring_System_Using_Microstrip_Antenna-Based_Sensor

- Detection Techniques for Lead Ions in Water: A Review: This review article provides valuable background on different laboratory and electrochemical methods for lead detection, which can inform the selection of an appropriate sensor for an ESP32-S3 based system.

Link: https://pmc.ncbi.nlm.nih.gov/articles/PMC10143718/

- IOT-Based Water Quality Monitoring System using ESP32: Another relevant paper focusing on using the ESP32 to send general water quality data to a cloud database (Firebase).

Link: https://ieeexplore.ieee.org/document/11139802/

- IOT Based Smart Water Quality Monitoring: Recent Techniques, Trends and Challenges for Domestic Applications

Links: https://www.mdpi.com/2073-4441/13/13/1729

https://sci-hub.hlgczx.com/10.3390/w13131729

- Electrochemical Sensing of Lead in Drinking Water Using MWCNTs and β-Cyclodextrin

Link: https://arxiv.org/pdf/1811.09654

- A Novel Poisoned Water Detection Method Using Smartphone Embedded Wi-Fi Technology and Machine Learning Algorithms

Link: https://arxiv.org/pdf/2302.07153

- IOT based smart water quality monitoring system

Link: https://www.sciencedirect.com/science/article/pii/S2666285X2100090X

- IOT integrated and deep learning assisted electrochemical sensor for multiplexed heavy metal sensing in water samples

Link: https://www.nature.com/articles/s41545-025-00441-x

- Lead (Pb2+) Ion Sensor development using optical fiber

Link: https://www.sciencedirect.com/science/article/abs/pii/S0925400522004609

- Design of IOT Enabled Integrative Biosensor to Detect Toxic Heavy Metal Contaminants in Water Reservoirs

Link: https://www.researchgate.net/publication/366042071_Design_of_IOT_Enabled_Integrative_Biosensor_to_Detect_Toxic_Heavy_Metal_Contaminants_in_Water_Reservoirs