# Manganese sensor core monitoring and capabilities of water purification devices

Table 1: Core monitoring and capabilities of manganese sensors of water purification devices

| Function | Why it is important | Considerations |
| --- | --- | --- |
| Manganese concentration sensing | To detect whether manganese exceed safe levels (e.g. WHO guideline or local standards), trigger treatment/alert. | Use an electrochemical sensor (e.g. voltametric or potentiometric), or colorimetric method; calibrate for concentration levels (µg/L or mg/L) |
| Other water-quality parameters | Manganese removal is often affected by e.g. pH, oxidation-reduction potential (ORP), dissolved oxygen, turbidity, conductivity, temperature | Add sensors for pH, DO, temperature, perhaps turbidity / conductivity so you can correlate and adjust treatment control |
| Data logging & alerting | Historical trends (e.g. manganese level over time), automated alerts if above threshold | Use ESP32-S3 to record readings, send to cloud or local display; log timestamps; thresholds based on regulations |
| Treatment control | Once manganese is detected above threshold, device should initiate or control treatment — for example initiate oxidation (aeration), change filter status, do regeneration cycle, or trigger a pump / valve | ESP32-S3 can drive relays / actuators; integrate with sensing feedback loop to control treatment components |
| Calibration & drift compensation | Sensors may drift, especially electrochemical sensors | Include auto-calibration routines (e.g. periodic calibration with known standard solution), temperature compensation, baseline correction |
| Safety / regulatory compliance | Make sure detection limit & measurement accuracy are suitable for standards (e.g. < 50 µg/L for manganese in drinking water, or local regulation) | Choose sensor technology that meets LOD (limit of detection), resolution, reproducibility |
| User interface & reporting | Display current manganese concentration, status, maintenance reminders (e.g. filter regeneration), treatment cycles | Web-dashboards, mobile app, local display, logs, alerts when maintenance is due. |
| Power & Reliability | Ensure continuous / periodic monitoring with low power use; ensure connectivity stability | Use ESP32-S3’s low-power modes, manage Wi-Fi connectivity, possibly battery-backup or independent power safety |
| Scalability & Expandability | Possibly extend to monitor other heavy metals later, or integrate multiple water inlets | Design modular sensor architecture, calibration routines, firmware structure that supports new sensors / actuators |

Research paper and its links

- Manganese Removal from Drinking Water Sources

Links: https://link.springer.com/article/10.1007/s40726-016-0036-2

https://sci-hub.hlgczx.com/10.1007/s40726-016-0036-2

- Drinking water characterization and removal of manganese

Links: https://www.sciencedirect.com/science/article/abs/pii/S2213343718301404

https://sci-hub.hlgczx.com/10.1016/j.jece.2018.03.019

- Electroanalytical overview: The determination of manganese

Links: https://www.sciencedirect.com/science/article/pii/S2666053922000376

https://sci-hub.hlgczx.com/https://doi.org/10.1016/j.snr.2022.100110

- Validation of electrochemical sensor for determination of manganese in drinking water

Link: https://sci-hub.hlgczx.com/10.1021/acs.est.0c05929

https://pmc.ncbi.nlm.nih.gov/articles/PMC10704915

- Electrochemical sensor for manganese detection in drinking water

Link: https://www.researchgate.net/publication/353301386_Electrochemical_Monitoring_of_Manganese_in_Drinking_Water

- Performance of point-of-use devices to remove manganese

Link: https://pubmed.ncbi.nlm.nih.gov/21526449

https://sci-hub.hlgczx.com/10.1080/10934529.2011.562852

- IoT-Based Water Quality Monitoring System using ESP32

Link: https://www.researchgate.net/publication/391323880_IOT_Based_Water_Quality_Monitoring_System_using_ESP32

- ESP32 Based Implementation of Water Quality and Quantity Regulating System

Link: https://www.atlantis-press.com/proceedings/iciic-21/125960835

- IOT Based Smart Water Quality Monitoring: Recent Trends

Link: https://www.mdpi.com/2073-4441/13/13/1729

- Preparation an electrochemical sensor for detection of manganese(II) ion with high selectivity

Link: https://www.sciencedirect.com/science/article/abs/pii/S1572665717306604

https://sci-hub.hlgczx.com/10.1016/j.jelechem.2017.09.038

- Validation of Electrochemical Sensor for Determination of Mn in Drinking Water

Link: https://pmc.ncbi.nlm.nih.gov/articles/PMC10704915

https://sci-hub.hlgczx.com/10.1021/acs.est.0c05929

- Electroanalytical overview: The determination of manganese

Link: https://www.sciencedirect.com/science/article/pii/S2666053922000376

- Electrochemical Detection of Manganese in Drinking Water with Chronoamperometry

Link: https://www.researchgate.net/publication/381000536_Electrochemical_Detection_of_Manganese_in_Drinking_Water_with_Chronoamperometry

- An Integrated Wireless Multi-Sensor System for Monitoring the Water Quality of Aquaculture

Link: https://www.mdpi.com/1424-8220/21/24/8179

- ESP32 Based Implementation of Water Quality and Quantity Regulating System

Link: https://www.atlantis-press.com/proceedings/iciic-21/125960835

- Development of Water Quality Monitoring Systems in Super Intensive Aquaculture System using ESP32 and Blynk

Link: https://www.scitepress.org/Papers/2019/98942/98942.pdf

- IOT Based Smart Water Quality Monitoring: Survey / Trends

Link: https://pdfs.semanticscholar.org/a983/af7addc866c488dceb9a9f926b0650dce10a.pdf

- Electrochemical Sensors Based on Manganese and Cobalt Oxide Nanostructures

Link: https://link.springer.com/article/10.1007/s10876-023-02474-z